Calibration Technician (Electrical/Electronic)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

17-3023.01

RAPIDS CODE

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Testing Calibration Instruments and Equipment 1. Receiving oral and/or written assignments. 2. Familiarizing self with established national and international standards. 3. Planning sequence of testing, using blueprints, schematics, technical manuals, procedures, specifications, manufacturers’ websites. 4. Setting up test equipment and conducting tests on the performance and reliability of electronic, mechanical, structural, electro-mechanical, pneumatic equipment. Using pressure test gauges. Using electronic test equipment such as: a. Computers b. Oscilloscopes c. Multimeters d. Frequency counters and generators e. Multi-function calibrators f. Polyranger and multi-point recorders g. Master and portable potentiometers h. Timers i. Gauge blocks 5. Measuring parts of calibration instruments and equipment for conformity with specifications, using micrometers, calipers, other precision instruments, and masters. 6. Analyzing and converting test data, using math formulas, and reporting results and proposed modifications and adjustments. 7. Recording work done, by entering data into computer and affixing label to equipment. 8. Monitoring environmental laboratory conditions, such as temperature and humidity to ensure work is being done within acceptable ranges. |  | 1K |
| Calibrating Instruments and Equipment 1. Planning schedule of calibration procedures; entering scheduling data into computer. 2. Receiving oral and/or written assignments. 3. Planning sequence of calibration, using blueprints, schematics, technical manuals, procedures, specifications, customer requirements. 4. Being aware of environmental factors such as temperature, vibration, electrical noise. 5. Setting up standard and special purpose lab equipment to calibrate other instruments and test equipment. Using calibration jigs, fixtures, and required standards. 6. Standardizing the performance and operation of component parts and circuitry, to national or international standards: a. Performing physical/mechanical calibration b. Performing electrical/electronic calibration c. Performing pneumatic calibration d. Performing optical/dimensional calibration (optional) e. Performing environmental/chemical calibration (optional) f. Performing electro optics calibration (optional), g. Performing calibration/analysis on Automated Test Equipment (optional) h. Performing radiac calibration (optional) i. Performing flow calibration (optional) j. Performing temperature calibration (optional) k. Performing transmitter calibration (optional) 7. Determining capability of master calibrations; recognizing when recalibration is too sophisticated to be done in-house and must be sent out. 8. Deriving formulas to solve problems in measurements and calibrations 9. Writing calibration reports; documenting work done. 10.Setting up recalibration cycles based on time, use, and instrument capability. |  | 2.5K |
| Troubleshooting and Repairing Instruments and Equipment 1. Receiving oral and/or written assignments. 2. Securing and using applicable schematics, procedures, equipment manuals, other technical documents. 3. Calibrating instruments and equipment. 4. Aligning and balancing component parts and circuitry. 5. Disassembling instruments and equipment, as needed, using hand tools. 6. Inspecting components for defects. 7. Removing, testing, repairing or replacing at the pc board, electronic component, or mechanical level such elements as: analog, digital, transistors, LED’s, integrated circuits, motors, power supplies, relays, solenoids, limit switches, logic controllers, sensors, styli, drives, resistors, capacitors. Being aware of static electricity damage to integrated circuits 8. Using hand tools and equipment such as: soldering irons, air pencils, taps and dies, mini-lathe, drill press, surface lapping tools, wrist grounding strap. 9. Reassembling instruments and equipment. 10.Recalibrating instruments and equipment. 11.Updating schematics and technical data when circuitry or system has been changed or modified. 12.Recording work done by entering data into computer and by affixing label to equipment. 13.Recognizing when repair is too sophisticated to be done inhouse. Recognizing when repair is too costly to be feasible. 14.Training others in proper operation of all metrology equipment. 15.Performing preventive maintenance on test apparatus and peripheral equipment. Maintaining and analyzing history of maintenance. |  | 3.5K |
| Installing and Aligning Metrology Equipment 1. Receiving oral and/or written assignment. 2. Securing and using applicable schematics, procedures, equipment manuals, or other technical documents. 3. Performing optical alignments to equipment. 4. Programming and configuring microprocessor-based metrology equipment. 5. Determining calibration requirements for new precision measuring equipment. 6. Writing preliminary calibration procedures. |  | 250 |
| Assisting in Development of Nonstandard Apparatus 1. Sketching plans for developing jigs, fixtures, instruments, and related nonstandard apparatus. |  | 250 |
| Assisting Engineers, Supervisors, Other Technical Staff 1. Assisting in formulating test, calibration, repair and evaluation plans and procedures to maintain precision accuracy of measuring, recording, and indicating instruments and equipment. 2. Assisting manufacturers’ service reps and service engineers during installation and repair of metrology equipment. 3. Training production/inspection employees in proper use of calibration equipment. 4. Recommending new lab standards requirements. 5. Participating in quality audits |  | 500 |
| Totals |  | OJT HRS 8K |

Calibration Technician (Electrical/Electronic)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

17-3023.01

RAPIDS CODE

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety 1. Proper Use of Personal Protective Equipment 2. Blood Borne Pathogens 3. Lockout/Tagout Procedures 4. Familiarization with MSDS for all Chemicals Used in this Trade 5. Proper Use, Storage, Disposal of Work-Related Chemicals 6. Safe Handling of High Pressure and Combustible Gases and Liquids (if applicable) 7. Safely Working with Radioactive Devices (if applicable) 8. Safely Working with Lasers (if applicable) 9. First Aid – minimum of 6.5 hours every 3 years 10.Sexual Harassment Prevention Training – must comply with section 201-g of the Labor Law |  |
| Blueprints, Schematics, Technical Manuals 1. Reading Electrical and Mechanical Blueprints 2. Reading Electronic Schematics 3. Reading Technical Manuals 4. Basic Electro-Mechanical Sketching |  |
| Mathematics 1. College-level Algebra 2. Analytical Geometry |  |
| Computer Skills 1. Introduction to Personal Computer Hardware 2. Introduction to Computer Operating Systems 3. Introduction to Computer Programming 4. Introduction to Software Applications 5. Introduction to the Internet |  |
| Trade Theory and Science 1. Mechanics (Static and Dynamic) 2. Theory of Electricity 3. Electronics Theory 4. Electronic Circuit Analysis 5. Metrology 6. Measurement Principles 7. Chemistry 8. Physics 9. Statistical and Quality Control Methods 10.Optics 11.Thermodynamics 12.Solid State Devices 13.Troubleshooting Techniques 14.Introduction to ISO, ANSI, IEC, AALA, ASTM, SAE, NIST Standards (optional) |  |
| Communication Skills 1. Oral and Written Communication Skills 2. Team Working Skills 3. Assertiveness Training (optional) |  |
| Industrial History and Labor Relations 1. History & Background (6 hours, 1st year) 2. Current Laws and Practices (14 hours, 2nd year) |  |
| Totals | RSI HRS 0 |