Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| General Trade Orientation a. Care and use of tools b. Test and measurement devices c. Types and sizes of fittings, piping, and tubing d. Safety procedures e. Equipment records and reports f. Environmental safety, CFC handling |  | 350 |
| Fabrication of Systems Components a. Cut, thread, flare, bend, shape piping and tubing b. Install fittings c. Solder and braze tin fittings and components d. Care and use of torches e. Silver and soft soldering |  | 550 |
| System Installation and connection a. Electrical supply lines and cables b. Electrical connections c. Water service lines d. Air supply lines e. Steam lines and steam return lines f. Steam traps and strainers g. Pressure reduction, expansion, evaporators, stop valves h. Suction and discharge lines i. Gauges j. Dehydrators k. Filters and strainers l. Controls |  | 1.6K |
| Equipment Installation a. Install condensers b. Prepare compressors and motor bases c. Install and align compressors and motors d. Install evaporators and other cooling coils e. Install and align centrifugal pumps and bases f. Use slings, lines, blocks and falls, chain hoists, rollers, dollies and skids |  | 950 |
| System Maintenance a. Troubleshoot field systems b. Test pressure and flow c. Check liquid levels d. Check and repair leaks e. Purge, dehydrate, and recharge systems f. Repair, align, adjust fans and blowers g. Align pulleys, bearing blocks, and belt tension |  | 1.1K |
| Equipment Repair a. Disassemble and clean, repair, renew, and test compressors b. Repair, pressure test, dehydrate evaporators c. Repair condensers, roll condenser tubes d. Remove, replace, disassemble, test, clean, calibrate, and renew parts on controls of all types 1. Pneumatic 2. Electrical 3. Electro-pneumatic 4. Thermostatic 5. Humidity 6. Pressure 7. Vacuum |  | 2.9K |
| Machine Shop Practice a. Use of grinders, drill presses, lathes b. Tool and drill sharpening |  | 300 |
| Miscellaneous a. Housekeeping b. Safety |  | 300 |
| Totals |  | OJT HRS 8K |

Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| Construction Site Safely Orientation | 3 |
| Introduction to Construction Math | 3 |
| Introduction to Hand Tools | 3 |
| Introduction to Power Tools | 3 |
| Introduction to Construction Drawings | 3 |
| Introduction to Basic Rigging | 3 |
| Basic Communication Skills | 3 |
| Basic Employability Skills | 3 |
| Introduction to Material Handling | 3 |
| Introduction to HVAC | 3 |
| Trade Math | 9 |
| Basic Electricity | 12 |
| Introduction to Heating | 21 |
| Introduction to Cooling | 27 |
| Air Distribution Systems | 18 |
| Basic Copper and Plastic Piping Practices | 9 |
| Soldering and Brazing | 9 |
| Basic Carbon Steel Piping Practices | 9 |
| Alternating Current | 9 |
| Compressors | 12 |
| Refrigerants and Oils | 12 |
| Leak Detection, Evacuation, Recover, and Charging | 24 |
| Metering Devices | 12 |
| Heat Pumps | 15 |
| Basic Maintenance | 15 |
| Chimneys, Vents, and Flues | 3 |
| Sheet Metal Duct Systems | 9 |
| Fiberglass and Fabric Dust Systems | 6 |
| Commercial Airside Systems | 12 |
| Air Quality Equipment | 3 |
| Introduction to Hydronic Systems | 12 |
| Fasteners, Hardware, and Writing Terminations | 9 |
| Control Circuit and Motor Troubleshooting | 24 |
| Troubleshooting Cooling | 12 |
| Troubleshooting Heat Pumps | 12 |
| Troubleshooting Gas Heating | 12 |
| Troubleshooting Oil Heating | 12 |
| Troubleshooting Accessories | 9 |
| Zoning, Ductless, and Variable Refrigerant Flow Systems | 15 |
| Commercial Hydronic Systems | 12 |
| Steam Systems | 9 |
| Retail Refrigeration System | 15 |
| Customer Relations | 3 |
| Water Treatment | 9 |
| Indoor Air Quality | 12 |
| Energy Conservation Equipment | 6 |
| Building Management Systems | 12 |
| System Air Balancing | 15 |
| System Startup and Shutdown | 15 |
| Construction Drawings and Specifications | 12 |
| Heating and Cooling System Design | 21 |
| Commercial/Industrial Refrigeration | 18 |
| Alternative and Specialized Heating and Cooling Systems | 6 |
| Fundamentals of Crew Leadership | 18 |
| Totals | RSI HRS 580 |