PLUMBER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation of piping for Hot water; Cold water; Water for domestic purposes |  | 1.3K |
| Installation of lead pipe, tin pipe, lead joints, sheet lead, solder work and lead burning |  | 10 |
| Assembly in position and connection of fixtures and appliances used in Domestic heating; Gas fittings; Plumbing and drainage system |  | 2.5K |
| Welding and brazing connected with the trade |  | 250 |
| Maintenance and repairing of heating, plumbing, gas fittings, and refrigeration service |  | 800 |
| Operation, care, and use of all tools and equipment connected with the trade |  | 530 |
| Operation and maintenance of complete repair service and drain cleaning |  | 540 |
| Code, blueprint reading and sketching, and safety requirements |  | 630 |
| Totals |  | OJT HRS 6.5K |

PLUMBER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Related Instruction Online | RSI HRS |
| --- | --- |
| Core | 72 |
| Plumbing Level 1 | 150 |
| Plumbing Level 2 | 180 |
| Plumbing Level 3 | 160 |
| Plumbing Level 4 | 150 |
| Journeyman Plumber License |  |
| Totals | RSI HRS 700 |