Line Worker (0284V1) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

0284

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Personal Protective Equipment, Tools, & Safety Training Knowledge and understanding of work practices and procedures Annual Safety Training Requirements Testing and inspection of personal protective equipment (PPE) Application of Rubber Goods; Use and Care of live line tools Use and care of live line testing equipment Personal protective grounding Equipment grounding and barricading Road traffic control |  | 7.5K |
| Use and Care of Trucks and Equipment Digger Derrick Trucks Bucket Trucks (Aerial Lifts) Cable Plows, Trenchers, and boring machines Backhoe and excavator; Skid Steer Equipment Forestry Equipment Earth Vacuum Equipment ATVs, UTVs Tracked equipment; Bombardiers, backyard machines, stand on skid steers |  | 500 |
| Operations System Protection – Line Protective Equipment Switching procedures Sectionalizing equipment Substation equipment Metering |  | 750 |
| Overhead and Underground Powerline Work Overhead Construction and Maintenance: Setting or replacing poles Framing Poles, and mounting equipment; Overhead Construction and Maintenance Installing and removing: Primary and secondary supports Secondary and service conductors Primary conductors Guys and anchors Transformers Arrestors and Grounds Fused Cutouts and Blades Line Protection Equipment; Overhead Sectionalizing equipment, Capacitors, and Regulators Installing and removing: Regulators Reclosures and Sectionalizers Gang-operated equipment Capacitors; Underground Construction and Maintenance Installing and removing: Secondary Conductors Primary Conductors Secondary Terminations Primary Terminations Single-phase and three-phase transformers Cable Locating Fault repair Grounding ; Underground Construction and Maintenance Installing and removing: Single-phase and three-phase transformers Cable Locating Fault repair Grounding; Underground Construction and Maintenance Primary and Secondary Fault Finding Troubleshooting URD Systems; Underground Sectionalizing Equipment Installing and removing switches Switching and switching procedures Installing fault indication equipment; Must have a minimum of 1000 hours from either Overhead Powerline or Underground Powerline |  | 5.5K |
| Hotline Work over 600 Volts Proper use of Gloves and Sleeves Proper use of Hotline Sticks and Equipment Tree Trimming |  | 200 |
| Totals |  | OJT HRS 7.5K |

Line Worker (0284V1) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

0284

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |