Plumber & Pipefitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Rigging, Material Handling, Working at Heights 1. Signaling, rigging, hoisting. 2. Loading/unloading materials in safe manner. 3. Using ladders, scaffolding safely. 4. Using power lifts, personnel lifts safely. |  | 200 |
| Tools, Machines, and Equipment 1. Care and safe use of: a. hand tools. b. power tools. c. cutting and burning equipment. d. machines used in the trade. |  | 300 |
| Materials 1. Identifying grade, type and appropriate use of various piping materials. |  | 200 |
| Basic Installation 1. Accurately reading specifications, blueprints, work orders. 2. Planning and layout; including avoiding obstructions, maximizing efficiency, avoiding 3. interfering with activities of other workers. 4. Cutting structural openings as required. 5. Cutting and threading pipe. 6. Pipe bending. 7. Pipe joining. 8. Caulking of joints 9. Assembling and installing pipe, fittings, valves, hydraulic and pneumatic equipment. 10.Securing pipes to structures, walls, fixtures. 11.Connecting to outside lines (e.g. - water, utility, sewage) 12.Inspecting pipe system for leaks, using such methods as gauges, hydrostatic testing, observation. |  | 1.6K |
| Cutting and Burning 1. Following all safety procedures and policies. 2. Using cutting torch. 3. Welding for the trade |  | 500 |
| Controls 1. Installing electrical controls. 2. Installing hydraulic controls. 3. Installing pneumatic controls. 4. Maintaining and repairing controls. |  | 500 |
| Fixtures and Appliances 1. Assembling, in position, and connecting fixtures and appliances used in plumbing and drainage systems. |  | 500 |
| Specialized Plumbing Work 1. Installing sanitary, storm, waste, vent, hot water, cold water piping. 2. Water purification. 3. Sewage disposal. 4. Installing sheet lead (x-ray room and shower pan use only). 5. Demonstrating familiarity with all tools, equipment and replacement parts used in repair and service, maintaining proper inventory. 6. Maintaining, modifying and repairing plumbing systems; including lead and tin pipe repair. |  | 1K |
| Boiler Installation and Repair 1. Low pressure. 2. High pressure. 3. Installing heating plant. 4. Insulating. 5. Installing steam and hot water piping. 6. Maintaining and repairing. |  | 700 |
| Gas Installations and Repair 1. Pipe and fittings for natural gas installations. 2. Pipe and fittings for L.P. gas systems (if available). 3. Sizing and venting gas systems. 4. Gas appliances and controls. 5. Pipe and fittings for medical gas systems (including obtaining required certifications) (optional*). 6. Maintaining and repairing. |  | 700 |
| Oil Installations and Repair 1. Connecting fuel oil tank, pump, and equipment in place. 2. Connecting oil pipeline, fittings, and valves in place. 3. Maintaining and repairing. |  | 700 |
| Optional: Geothermal Installations and Repair 1. Installing heat pumps. 2. Maintaining and repairing. |  | 450 |
| Optional: Solar Thermal Installations and Repair 1. Installing solar panels; running piping to hot water pumps; installing storage/mixing tanks. 2. Maintaining and repairing. |  | 450 |
| Refrigeration and Air-Conditioning Systems 1. Installing refrigeration and air-conditioning systems including: a. compressors b. pumps c. meters d. pneumatic and hydraulic controls e. piping 2. Testing, adjusting, balancing (TAB), using computer if available. 3. Maintaining and repairing. |  | 600 |
| Specialized Pipefitting Work 1. Process piping. 2. Power piping. 3. Pneumatic tube pipe work. |  | 600 |
| Totals |  | OJT HRS 9K |

Plumber & Pipefitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety and Health 1. OSHA 10-Hour Construction Course – if required for Public Work 2. Proper Use of Personal Protective Equipment (PPE) 3. Proper Lifting Techniques 4. Fall Protection 5. Scaffold Safety 6. Right-to-Know/Material Safety Data Sheets (MSDS) 7. Asbestos Awareness – minimum 4 hours (see attachment) 8. Welding Safety 9. First Aid – minimum 6.5 hours every 3 years 10.Sexual Harassment Prevention – must comply with Section 201-g of the Labor Law |  |
| Mathematics 1. Fundamentals 2. Trade Math, including pipe measurements |  |
| Blueprint Reading and Drawing 1. Reading Specifications 2. Reading Building Plans and Blueprints 3. Elementary Blueprint Reading for the Pipe Trades 4. Advanced Blueprint Reading for the Pipe Trades 5. Elementary Drawing 6. Advanced Drawing and Layout (using computers and trade-specific software if available) |  |
| Trade Theory and Science 1. Basic Building Construction 2. Use and Care of Tools, Machines, Equipment 3. Materials of the Trade 4. Trade Physics 5. Trade Chemistry 6. Bacteriology for the Trade 7. Rigging, Signaling, Hoisting 8. Local Plumbing Codes and Regulations 9. Water Supply 10.Drainage 11.Sewage Disposal 12.Water Pollution in Plumbing Systems – including back-flow prevention and cross-connection control devices 13.Soil and Waste Lines 14.Venting 15.Plumbing Fixtures and Appliances 16.Pumps 17.Valve Repair 18.Basic Electricity 19.Electric Controls for Mechanical Equipment Service 20.Layout 21.Heating Systems 22.Heat Pumps (if Work Process “L” is undertaken) 23.Solar Thermal Installations (if Work Process “M” is undertaken) 24.Steam Systems 25.Power Plant Operation 26.Refrigeration 27.Conservation and Safe Handling of Refrigerants 28.Air-Conditioning 29.Introduction to Start, Test and Balance 30.Gas Installations 31.Medical Gas Systems Certification (if Work Process “J-5” is undertaken) 32.Special Purpose Plumbing Installations 33.Soldering and Brazing 34.Welding 35.Cutting 36.Instrumentation and Process Control 37.Service and Repair Work |  |
| Other Skills 1. Computer Fundamentals 2. Oral and Written Communication Skills 3. Customer Service Skills |  |
| Totals | RSI HRS 0 |