HVAC Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

49-9021.00

RAPIDS CODE

0637

| Work Process Schedule | SKILLS |  |
| --- | --- | --- |
| Safety, Equipment/Tools, Communication OSHA 10 Personal Protective Equipment Proper Identification, Storage and Maintenance of Tools Proper Identification, Storage and Maintenance of Equipment Meters and Gauges Basic Rigging Effective Communication | 7 |  |
| Basics of Electricity Electrical Wiring, Components and Connections Electrical Controls and Thermostats Electric Motors Wiring Diagrams and Schematics | 4 |  |
| Installation of HVAC Units and Accessories System Design Heating and Cooling Systems Gas Piping, Venting, and Exhaust Refrigeration Piping Humidifiers, Electronic Air Cleaners, Comfort Zones Residential and Commercial Refrigeration Systems Duct Work Balance and Startup of New and Replacement Systems | 8 |  |
| Service and Repair of HVAC Units and Accessories Extracting, Reclaiming and Recharging Refrigerant Piping Maintenance and Repair Heat Pumps Compressors Residential HVAC Systems Commercial HVAC Systems Electrical Repair Metering Devices | 8 |  |
| Totals | SKILLS 27 | OJT HRS 0 |

HVAC Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

49-9021.00

RAPIDS CODE

0637

| Related Instruction Online | RSI HRS |
| --- | --- |
| Workforce Continuing Education Career Pathway-No degree or diploma program Workforce Continuing Education I. Core Curriculum: Introductory Craft Skills a. Basic Safety - OSHA 10 Hr. Certification for Construction b. Introduction to Construction Math c. Introduction to Hand Tools d. Introduction to Power Tools e. Introduction to Construction Drawings f. Basic Rigging g. Basic Communication Skills h. Basic Employability Skills I. Introduction to Materials Handling j. American Heart Association CPR and First Aid 102 hours II. HVAC Apprentice Level 1 a. Introduction to HVAC b. Trade Mathematics c. Basic Electricity d. Introduction to Heating e. Introduction to Cooling f. Introduction to Air Distribution Systems g. Basic Copper and Plastic Piping Practices h. Soldering and Brazing I. Basic Carbon Steel Piping Practices 111 hours III. HVAC Apprentice Level 2 a. Alternating Current b. Compressors c. Refrigerants and Oils d. Leak Detection, Evacuation, Recovery, and Charging e. Metering Devices f. Heat Pumps g. Basic Maintenance h. Chimneys, Vents, and Flues i. Sheet Metal Duct Systems j. Fiberglass and Flexible Duct Systems k. Commercial Airside Systems l. Air Quality Equipment m. Introduction to Hydronic Systems 144 hours IV. HVAC Apprentice Level 3 a. Fasteners, Hardware, and Wiring Terminations b. Control Circuit and Motor Troubleshooting c. Troubleshooting Cooling d. Troubleshooting Heat Pumps e. Troubleshooting Gas Heating f. Troubleshooting Oil Heating g. Troubleshooting Accessories h. Zoning, Ductless, and Variable Refrigerant Flow Systems i. Commercial Hydronic Systems j. Steam Systems k. Retail Refrigeration Systems l. Customer Relations 144 hours V. HVAC Apprentice Level 4 a. Water Treatment b. Indoor Air Quality c. Energy Conservation Equipment d. Building Management Systems e. System Air Balancing f. System Startup and Shutdown g. Construction Drawings and Specifications h. Heating and Cooling System Design I. Commercial/Industrial Refrigeration Systems j. Alternative and Specialized Heating and Cooling Systems k. Fundamentals of Crew Leadership 150 hours | 650 |
| HVAC- Career Pathway resulting in an A.A.S. in Air Conditioning, Heating and Refrigeration.Degree Career Pathway Introduction to Refrigeration -AHR 110 Introduction to Refrigeration 80 hours HVACR Electricity -AHR 111 HVACR Electricity 48 hours Heating Technology -AHR 112 Heating Technology 64 hours HVACR Building Code -AHR 213 HVACR Building Code 32 hours Comfort Cooling -AHR 113 Comfort Cooling 64 hours Heat Pump Technology -AHR 114 Heat Pump Technology 64 hours HVAC Servicing -AHR 133 HVAC Servicing 64 hours Freshman Composition -ENG 110 Freshman Composition 48 hours Refrigeration Systems -AHR 115 Refrigeration Systems 32 hours HVACR Electronics -AHR 125 HVACR Electronics 48 hours HVAC Duct Systems I -AHR 151 HVAC Duct Systems I 32 hours Major Elective -Refrigerant Certification or Refrigeration Design or Work Based Learning Major Elective 16 hours Residential System Design -AHR 211 Residential System Design 48 hours Commercial H VAC Controls -AHR 215 Commercial HVAC Controls 32 hours Building Automation Systems -BAT 111 Building Automation Systems 32 hours Intro to Interpersonal Communication COM 120 Intro to Interpersonal Communication 48 hours Math Measurement and Literacy -MAT 110 Math Measurement and Literacy 48 hours Commercial Systems I -REF 116 Commercial Systems I 64 hours HVACR Customer Relations -AHR 180 HVACR Customer Relations 16 hours Advanced Comfort Systems -AHR 212 Advanced Comfort Systems 64 hours Commercial System Design -AHR 225 Commercial System Design 48 hours HVAC System Diagnostics -AHR 250 HVAC System Diagnostics 32 hours Energy Management -AHR 263 Energy Management 32 hours The Nature of America -HUM 121 The Nature of America 48 hours | 1.1K |
| Totals | RSI HRS 1.8K |