PLC Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

17-3024.01

RAPIDS CODE

3002

| Work Process Schedule | SKILLS |  |
| --- | --- | --- |
| Maintain work equipment or machinery. Maintains a clean and safe work environment Utilize Personal protective equipment PPE when applicable. Follow plant safety guidelines. | 3 |  |
| Interpretation and understanding of blueprints and diagrams. Development and maintenance of technical reference materials. Ability to interpret and follow machine and electrical diagrams and operation manuals. Create graphical representations of industrial production systems. | 3 |  |
| Program and or uses CAM software to program, setup and operate CNC lathes and milling machines. Knowledgeable in use of computer communication network. Utilize variety of electrical and mechanical test and calibration equipment. Align, fit, or assemble components, using hand tools, power tools, fixtures, templates, or microscopes. Assist engineers in the design, configuration, or application of robotic systems. Create graphical representations of industrial production systems. Design electromecanical equipment or systems. | 6 |  |
| Install production equipment or systems. Perform program creation/changes on PLC's, PC's, motion controllers, robots, HMI's and other controls. Utilize variety of electrical and mechanical test and calibration equipment. Build or assemble robotic devices or systems. Install, program, or repair programmable controllers, robot controllers, end-of-arm toolds, or conveyors. Evaluate the efficiency and reliability of industrial robotic systems, reprogramming or calibrating to achieve maximum quantity and quality. Develop robotic path motions to maximize efficiency, safety, and quality. | 6 |  |
| Maintain electromechanical equipment. Train other on equipment operation and troubleshooting. Fabricate, locate, install, and troubleshoot of production tools and plant equipment. Development/improvement of preventative maintenance and spare parts system. Make repairs to robots or peripheral equipment such as replacement of defective circuit boards, sensors, controllers, encoders, or servomotors. Attach wires between controllers. Perform preventative or corrective maintenance on robotic systems or components. Troubleshoot robotic systems, using knowledge of microprocessors, programmable controllers, electronics, circuit analysis, mechanics, sensor or feedback systems, hydraulics, or pneumatics. | 7 |  |
| Totals | SKILLS 25 | OJT HRS 0 |

PLC Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

17-3024.01

RAPIDS CODE

3002

| Related Instruction Online | RSI HRS |
| --- | --- |
| Intro to Automation | 48 |
| Blueprint Reading | 48 |
| Intro to PLCs | 48 |
| Circuit Analysis I | 64 |
| Electrical Machines | 48 |
| Instrumentation | 64 |
| PLC Applications | 48 |
| Industrial Controls | 64 |
| Industrial Safety | 48 |
| Intro to Maintenance Procedures | 32 |
| Transition Math (IF NECESSARY based on assessment test) | 48 |
| Intro to Computers | 48 |
| Electrical Machines II | 48 |
| CAD I | 48 |
| Mechanisms | 48 |
| Totals | RSI HRS 750 |