LINEMAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

0058

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Poles, towers, and fixtures a. Dig pole holes - by hand and with power equipment b. Identify proper pole locations - property lines, right-of- way, standards, sidewalks, ditches, etc. c. Load and unload poles to trailers or trucks d. Set poles - by hand methods and with power equipment e. Apply preservative treatment to new poles f. Roof, gain, and bore poles g. Face, straighten, and line-in poles h. Place a key on a pole i. Fill and tamp around poles j. Test poles for decay k. Excavate, shave, and treat decayed poles l. Stub decayed poles m. Replace poles by digging new hole alongside old poles n. Replace poles by pulling old butt and reaming old hole o. Move pole by trenching p. Select proper crossarms to meet design specifications q. Install single arms r. Install double arms or triple arms with spacing bolts s. Install alley arms t. Install pins and bolts in arms |  | 1.1K |
| Guys and anchors a. Install power driven screw anchors b. Install a rock anchor, swamp anchor, and expanding anchor c. Install down guys d. Install span guys e. Install sidewalk guy f. Install an arm guy |  | 500 |
| Overhead conductors and devices a. String conductors - copper and aluminum b. Splice conductors - copper and aluminum c. Dead-end conductors - copper and aluminum d. Tie-in conductors copper and aluminum e. Install insulators any type f. Make copper-copper tap connections g. Make aluminum-aluminum connections h. Make copper-aluminum connections i. Install and remove personnel grounds j. Utilize hot stick tools k. Utilize high voltage rubber glove work |  | 1.1K |
| Underground conductors and devices a. System maps and circuit diagrams b. Trench location - horizontal and depth c. Joint use of trench - random lay d. Locating pipes and other obstructions e. Pedestal installation and connection f. Trenching with machine and backhoe g. Street crossing h. Cable installation in open trench or duct i. Transformer and switchgear installation j. Cable terminations k. Cable splicing l. Junction Box connections m. Primary cable connections n. Cable identification by ringing out and inspection, and cable tagging o. Grounding at equipment installations p. Secondary and service connections q. Final inspection and system testing r. Replace padmount transformer fuse s. Locate and isolate secondary fault t. Operate loadbreak elbows u. Switch underground circuit with underground switchgear v. Remove and replace padmount transformers w. Locate fault on underground equipment or system, establish precise location of cable fault with testing equipment, evacuate area, make cable repair splice. |  | 1.3K |
| Protective and regulation devices and equipment a. Install pole-mounted switches b. Install cutouts and fuse-in - any type c. Install lightning arrestors d. Install line recloser and sectionalizer e. Install capacitors f. Operate cutouts with hotsticks and loadbuster tool g. De-energize all above |  | 400 |
| Transformers a. Install pole-mounted transformers - single transformer and banked configurations b. Connect transformers for single-phase service - any voltage c. Connect transformers for three-phase service - any voltage d. Connect transformers for open and closed delta service - any voltage e. Connect transformers for open and closed wye service - any voltage f. Ground transformers g. Install current transformers h. Parallel transformer secondaries |  | 1.2K |
| Secondary and service runs and metering a. Install overhead secondary and service conductors - single and three-phase b. Install underground secondary and service conductors - single and three-phase c. Splice overhead and underground conductors d. Install area lighting fixtures e. Install single-phase and three-phase meters -selfcontained f. Install instrument transformer meters single-phase and three-phase g. Wire in single-phase CT meters |  | 800 |
| System Maintenance a. Cut and trim trees under and near lines to provide clearance b. Repair damage from storms, accidents, etc. c. Assist in trouble-shooting customer problems |  | 200 |
| Substations Understand the operation of station regulators LTC, voltage, amp, power factor meters, relays, calibration and testing |  | 300 |
| Safety meetings, care and inspections of safety equipment |  | 100 |
| Totals |  | OJT HRS 7K |

LINEMAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9051.00

RAPIDS CODE

0058

| Related Instruction Online | RSI HRS |
| --- | --- |
| Other (specify): A. Lineman: Joint Apprenticeship & Training Committee of the Northwest Line Construction Industry Course plus two ten-day and one five-day class at Camp Rilea and Grays Harbor PUD. | 140 |
| Totals | RSI HRS 140 |