Electrician Maintenance

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Orientation to the Trade |  | 230 |
| Tools of the Trade |  | 250 |
| Electrical Safety |  | 600 |
| Lockout/Tagout |  | 350 |
| National Electric Code & NFPA 70E |  | 200 |
| Fasteners and Anchors |  | 160 |
| Electrical Mathematics |  | 80 |
| Grounding and Bonding |  | 120 |
| Pull, Junction Boxes & Fittings |  | 250 |
| Electrical Construction Drawings |  | 160 |
| Conduit bending |  | 450 |
| Hydraulic Bending |  | 160 |
| Conduit Installation |  | 350 |
| Hand Bending Conduit |  | 80 |
| Raceway & Fittings |  | 120 |
| Conductor Selection and Calculations |  | 120 |
| Cable Trays |  | 60 |
| Wire Pulling |  | 300 |
| Terminations |  | 300 |
| Conductor Terminations and Splices |  | 120 |
| Panels and Distribution Boards |  | 350 |
| Distribution Equipment |  | 200 |
| Transformers |  | 150 |
| Material Handling and Rigging |  | 120 |
| Material Selection |  | 150 |
| Circuit Breakers and Fuses |  | 150 |
| Overcurrent Protection |  | 120 |
| Motors, Theory and Applications |  | 200 |
| Motor Calculations |  | 120 |
| Motor Control Circuits |  | 250 |
| Motor Controllers |  | 150 |
| Preventive Maintenance |  | 350 |
| Application and Installation of Lighting |  | 300 |
| Lighting Controls |  | 240 |
| Load Calculations, Branch and Feeder Circuits |  | 240 |
| Pump Controls |  | 200 |
| Layout and Bill of Materials |  | 240 |
| Standby and Emergency Systems |  | 300 |
| HVAC Controls |  | 160 |
| Hazardous Locations |  | 40 |
| Infrared Inspections |  | 200 |
| Arc Flash Analysis |  | 150 |
| Troubleshooting Circuits |  | 120 |
| Advanced Controls |  | 150 |
| Instrumentation |  | 240 |
| Recording & Measurement Equipment |  | 100 |
| Heat Trace and Freeze Protection |  | 20 |
| Specialty Transformers |  | 20 |
| Special Locations |  | 120 |
| Special Grounding |  | 20 |
| California State License Preparation |  | 100 |
| Totals |  | OJT HRS 9.7K |

Electrician Maintenance

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| Orientation to the Electrical Trade, Safety, Hand Bending, Raceways & Fittings | 50 |
| Intro to Electrical Circuits, Theory, Test Equipment, Intro to NEC | 50 |
| Conductors & Cables, Drawings, Device Boxes, Residential Services | 50 |
| Alternating Current, Motors Theory & Application, Grounding and Bonding | 50 |
| Conduit Bending, Pull & Junction Boxes, Conductor Installations, Cable Tray | 50 |
| Conductor Terminations & Splices, Circuit Breaker & Fuses, Lighting, Control Systems & Concept | 50 |
| – Load Calculations – Branch & Feeder Circuits, Conductor Selection & Calculations, Lighting Applications, Overcurrent Protection | 50 |
| Distribution Equipment, Transformers, Commercial Services, Voice, Data & Video | 50 |
| Motor Calculations, Motor Controls, Hazardous Locations | 50 |
| – Load Calculations – Feeders & Services, Healthcare Facilities, Standby & Emergency Systems, Basic Electronic Theory | 50 |
| Fire Alarm Systems, Specialty Transformers, Advanced Controls, HVAC Controls | 50 |
| Special Locations, Heat Tracing & Freeze Protection, Motor Operation & Maintenance, Introductory Skills for the Crew Leader | 50 |
| Programmable Logic Controllers | 50 |
| Advanced Electrical Topics | 50 |
| Electrical Certification Test Preparation | 50 |
| Totals | RSI HRS 750 |